Inspection Report

Asset: - Vico LED Linear Batten

Fault\_id: 0

Fault: No fault

Remedy: No remedy

Comment:





Asset: - Chamaeleon Emergency enLighten

Fault\_id: 0

Fault: No fault

Remedy: No remedy

Comment:



Asset: - 2.3kg ABE Powder Type Portable Fire Extinguisher

Fault\_id: 0

Fault: No fault

Remedy: No action required

Comment:



Asset: - None

Fault\_id: 0

Fault:

Remedy:

Comment:





Asset: - None

Fault\_id: 0

Fault:

Remedy:

Comment:





Asset: - None

Fault\_id: 0

Fault:

Remedy:

Comment:

Asset: - None

Fault\_id: 0

Fault:

Remedy:

Comment: